## Inspections
P/N | Serial | Manufacturer | Type | Location | Inspection Date | Inspector | Condition Class | Findings | Action | Status
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2022-06-01 | K. Janssens | Good | None | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-06-01 | K. Janssens | Good | Slight vibration noted | Clean during next service | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-06-03 | K. Janssens | Good | None | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2022-06-03 | J. Peeters | Poor | Vibration above threshold | Replace belt | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-06-05 | J. Peeters | Good | Minor dust | No action needed | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2022-06-09 | R. Willems | Fair | Dust buildup | Replace bearing | Open
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-06-09 | K. Janssens | Poor | Bearing noise | Clean and re-insulate within 60 days | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-06-15 | R. Willems | Good | None | No action needed | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-06-18 | M. Claes | Good | None | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-06-19 | M. Claes | Good | Slight vibration noted | Clean during next service | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-06-20 | A. Maes | Good | None | Monitor next cycle | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-06-25 | M. Claes | Poor | Insulation damage | Tighten connections | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2022-06-25 | R. Willems | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-06-27 | L. Dubois | Good | None | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-06-28 | A. Maes | Good | Slight vibration noted | Clean during next service | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-07-03 | M. Claes | Good | None | Monitor next cycle | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-07-12 | L. Dubois | Poor | Loose connection | Schedule repair within 60 days | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-07-12 | R. Willems | Good | Slight vibration noted | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-07-18 | J. Peeters | Fair | Insulation damage | Replace belt | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2022-07-19 | L. Dubois | Good | Slight vibration noted | Monitor next cycle | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2022-07-21 | K. Janssens | Fair | Belt wear | Rebalance motor | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2022-07-23 | R. Willems | Good | None | No action needed | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-07-26 | L. Dubois | Good | Slight vibration noted | No action needed | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-08-03 | R. Willems | Good | None | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2022-08-07 | J. Peeters | Good | None | Clean during next service | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2022-08-08 | R. Willems | Good | None | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-08-14 | A. Maes | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2022-08-14 | K. Janssens | Good | Minor dust | No action needed | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-08-15 | A. Maes | Good | Slight vibration noted | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-08-15 | M. Claes | Good | Minor dust | Clean during next service | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2022-08-17 | R. Willems | Good | Minor dust | Clean during next service | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-08-17 | R. Willems | Good | None | Clean during next service | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2022-08-27 | J. Peeters | Good | Minor dust | Clean during next service | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-08-29 | R. Willems | Fair | Overheating | Schedule repair within 60 days | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-09-03 | L. Dubois | Good | Minor dust | Monitor next cycle | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-09-07 | M. Claes | Poor | Vibration above threshold | Schedule repair within 30 days | Open
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2022-09-14 | L. Dubois | Poor | Insulation damage | Replace bearing | In progress
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-09-17 | L. Dubois | Good | None | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-09-22 | A. Maes | Fair | Insulation damage | Replace bearing | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-09-23 | M. Claes | Good | None | Clean during next service | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2022-09-24 | R. Willems | Good | Slight vibration noted | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2022-09-24 | K. Janssens | Good | Minor dust | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2022-09-28 | L. Dubois | Fair | Bearing noise | Rebalance motor | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-10-03 | K. Janssens | Good | Slight vibration noted | Clean during next service | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-10-12 | A. Maes | Good | None | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-10-13 | A. Maes | Fair | Belt wear | Schedule repair within 60 days | In progress
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2022-10-14 | M. Claes | Fair | Vibration above threshold | Clean and re-insulate within 60 days | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-10-22 | J. Peeters | Fair | Insulation damage | Repaint housing | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2022-10-23 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2022-10-25 | K. Janssens | Fair | Dust buildup | Replace belt | Open
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2022-10-27 | J. Peeters | Fair | Belt wear | Repaint housing | Open
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-10-28 | J. Peeters | Good | Minor dust | No action needed | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2022-11-10 | J. Peeters | Good | None | No action needed | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2022-11-18 | K. Janssens | Poor | Vibration above threshold | Schedule repair within 30 days | Open
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-11-19 | M. Claes | Poor | Corrosion on housing | Tighten connections | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2022-11-21 | J. Peeters | Fair | Dust buildup | Schedule repair within 30 days | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-11-22 | J. Peeters | Good | None | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-11-25 | M. Claes | Fair | Vibration above threshold | Clean and re-insulate within 60 days | Open
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2022-12-05 | A. Maes | Poor | Dust buildup | Tighten connections | In progress
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2022-12-06 | K. Janssens | Poor | Dust buildup | Schedule repair within 60 days | Open
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-12-10 | L. Dubois | Good | Minor dust | Clean during next service | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2022-12-16 | M. Claes | Poor | Overheating | Rebalance motor | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2022-12-22 | K. Janssens | Good | None | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2022-12-27 | R. Willems | Good | Minor dust | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2022-12-27 | M. Claes | Fair | Dust buildup | Tighten connections | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2022-12-31 | K. Janssens | Good | None | No action needed | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2023-01-05 | L. Dubois | Good | None | Clean during next service | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2023-01-07 | R. Willems | Good | None | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-01-08 | K. Janssens | Good | None | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-01-15 | J. Peeters | Poor | Dust buildup | Schedule repair within 30 days | Open
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-01-16 | L. Dubois | Good | None | No action needed | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2023-01-21 | J. Peeters | Good | Minor dust | Clean during next service | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-01-23 | R. Willems | Good | Slight vibration noted | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-02-06 | M. Claes | Good | Minor dust | Monitor next cycle | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-02-14 | J. Peeters | Good | None | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-02-17 | M. Claes | Good | None | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-02-18 | J. Peeters | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-02-21 | J. Peeters | Good | None | Monitor next cycle | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-03-01 | J. Peeters | Fair | Insulation damage | Schedule repair within 30 days | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2023-03-16 | L. Dubois | Fair | Corrosion on housing | Clean and re-insulate within 60 days | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-03-22 | L. Dubois | Fair | Corrosion on housing | Tighten connections | Open
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-04-03 | M. Claes | Good | None | Monitor next cycle | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-04-13 | M. Claes | Good | None | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-04-16 | J. Peeters | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2023-04-17 | K. Janssens | Good | None | No action needed | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2023-04-18 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-04-26 | L. Dubois | Fair | Insulation damage | Rebalance motor | Open
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-04-26 | R. Willems | Fair | Bearing noise | Clean and re-insulate within 60 days | Open
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2023-04-29 | K. Janssens | Fair | Loose connection | Schedule repair within 60 days | In progress
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-04-29 | R. Willems | Fair | Loose connection | Repaint housing | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2023-04-29 | J. Peeters | Good | None | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-05-03 | J. Peeters | Fair | Corrosion on housing | Replace bearing | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-05-05 | R. Willems | Good | Minor dust | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2023-05-06 | M. Claes | Fair | Overheating | Rebalance motor | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-05-08 | M. Claes | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2023-05-09 | M. Claes | Good | Minor dust | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-05-12 | J. Peeters | Good | Minor dust | No action needed | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2023-05-15 | K. Janssens | Good | None | Monitor next cycle | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-05-20 | K. Janssens | Good | None | Monitor next cycle | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2023-05-25 | K. Janssens | Good | Minor dust | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-05-29 | K. Janssens | Good | Minor dust | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-06-01 | L. Dubois | Good | Slight vibration noted | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-06-05 | K. Janssens | Good | None | Clean during next service | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2023-06-07 | R. Willems | Fair | Corrosion on housing | Schedule repair within 30 days | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2023-06-08 | J. Peeters | Poor | Insulation damage | Repaint housing | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-06-15 | J. Peeters | Good | None | Clean during next service | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2023-06-24 | R. Willems | Good | None | Monitor next cycle | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-07-13 | K. Janssens | Good | Minor dust | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-07-14 | K. Janssens | Fair | Corrosion on housing | Clean and re-insulate within 60 days | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-07-18 | R. Willems | Fair | Overheating | Schedule repair within 60 days | In progress
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-07-23 | J. Peeters | Fair | Dust buildup | Schedule repair within 30 days | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2023-07-23 | A. Maes | Good | Slight vibration noted | No action needed | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2023-07-27 | R. Willems | Fair | Belt wear | Tighten connections | Open
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2023-07-28 | R. Willems | Good | None | Monitor next cycle | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-08-07 | M. Claes | Poor | Corrosion on housing | Schedule repair within 30 days | In progress
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2023-08-07 | J. Peeters | Good | Slight vibration noted | No action needed | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2023-08-15 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-08-20 | A. Maes | Good | None | Monitor next cycle | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-08-25 | M. Claes | Fair | Vibration above threshold | Replace belt | In progress
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-09-03 | L. Dubois | Fair | Belt wear | Replace belt | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-09-05 | L. Dubois | Good | Slight vibration noted | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-09-11 | J. Peeters | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2023-09-12 | K. Janssens | Poor | Bearing noise | Replace belt | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-09-21 | J. Peeters | Poor | Bearing noise | Schedule repair within 60 days | In progress
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2023-09-24 | L. Dubois | Good | None | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-09-25 | A. Maes | Good | None | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-09-27 | M. Claes | Good | Slight vibration noted | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-09-29 | M. Claes | Good | None | Clean during next service | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2023-10-02 | J. Peeters | Poor | Corrosion on housing | Replace bearing | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-10-09 | L. Dubois | Fair | Insulation damage | Repaint housing | Open
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2023-10-13 | M. Claes | Good | Slight vibration noted | Monitor next cycle | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2023-10-14 | J. Peeters | Good | Minor dust | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-10-15 | K. Janssens | Good | None | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-10-19 | K. Janssens | Poor | Belt wear | Replace bearing | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2023-10-19 | J. Peeters | Fair | Dust buildup | Schedule repair within 60 days | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-10-24 | K. Janssens | Fair | Overheating | Replace bearing | In progress
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2023-10-26 | J. Peeters | Good | Slight vibration noted | No action needed | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2023-10-28 | R. Willems | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-10-31 | J. Peeters | Good | Minor dust | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-11-06 | K. Janssens | Fair | Vibration above threshold | Replace belt | Open
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-11-10 | L. Dubois | Good | None | No action needed | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2023-11-14 | J. Peeters | Poor | Loose connection | Repaint housing | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2023-11-15 | J. Peeters | Good | None | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-11-24 | L. Dubois | Fair | Insulation damage | Schedule repair within 30 days | Open
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2023-11-27 | J. Peeters | Good | None | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2023-11-29 | K. Janssens | Fair | Dust buildup | Repaint housing | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-12-01 | A. Maes | Poor | Corrosion on housing | Replace bearing | In progress
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2023-12-07 | A. Maes | Fair | Loose connection | Replace bearing | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2023-12-07 | K. Janssens | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2023-12-11 | A. Maes | Fair | Corrosion on housing | Replace bearing | Open
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-12-21 | R. Willems | Poor | Insulation damage | Replace belt | Open
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2023-12-22 | J. Peeters | Fair | Vibration above threshold | Schedule repair within 30 days | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2023-12-24 | J. Peeters | Poor | Corrosion on housing | Replace belt | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2023-12-28 | L. Dubois | Fair | Corrosion on housing | Schedule repair within 60 days | Open
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2024-01-03 | M. Claes | Good | None | Monitor next cycle | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2024-01-11 | K. Janssens | Poor | Vibration above threshold | Replace belt | In progress
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-01-12 | L. Dubois | Good | None | Monitor next cycle | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-01-13 | L. Dubois | Good | Slight vibration noted | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2024-01-15 | R. Willems | Good | None | Monitor next cycle | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-01-24 | R. Willems | Good | Minor dust | Clean during next service | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2024-01-28 | A. Maes | Good | Minor dust | Clean during next service | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-01-29 | R. Willems | Good | None | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-01-31 | K. Janssens | Good | Minor dust | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-02-05 | A. Maes | Poor | Loose connection | Tighten connections | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-02-08 | R. Willems | Good | None | Monitor next cycle | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2024-02-17 | L. Dubois | Fair | Bearing noise | Schedule repair within 30 days | In progress
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2024-02-28 | L. Dubois | Poor | Insulation damage | Rebalance motor | In progress
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-03-03 | R. Willems | Good | None | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2024-03-04 | M. Claes | Fair | Loose connection | Clean and re-insulate within 60 days | In progress
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2024-03-12 | L. Dubois | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2024-03-12 | A. Maes | Poor | Vibration above threshold | Replace bearing | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2024-03-29 | L. Dubois | Good | None | Monitor next cycle | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-03-30 | K. Janssens | Fair | Vibration above threshold | Repaint housing | In progress
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2024-04-02 | L. Dubois | Fair | Loose connection | Clean and re-insulate within 60 days | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-04-07 | L. Dubois | Good | Minor dust | Monitor next cycle | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-04-16 | L. Dubois | Good | Minor dust | Clean during next service | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2024-04-16 | R. Willems | Good | Slight vibration noted | Monitor next cycle | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-05-02 | A. Maes | Poor | Dust buildup | Repaint housing | Open
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-05-14 | L. Dubois | Poor | Bearing noise | Rebalance motor | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-05-16 | A. Maes | Poor | Vibration above threshold | Rebalance motor | In progress
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-05-16 | J. Peeters | Good | Slight vibration noted | Clean during next service | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-05-19 | A. Maes | Good | None | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-05-20 | R. Willems | Good | None | Clean during next service | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-05-20 | K. Janssens | Good | Minor dust | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-05-21 | L. Dubois | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2024-05-21 | A. Maes | Good | Minor dust | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2024-06-02 | J. Peeters | Good | None | Clean during next service | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2024-06-04 | L. Dubois | Good | Minor dust | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-06-05 | M. Claes | Fair | Loose connection | Schedule repair within 60 days | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2024-06-08 | A. Maes | Fair | Corrosion on housing | Rebalance motor | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-06-12 | L. Dubois | Fair | Corrosion on housing | Replace belt | Open
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-06-14 | J. Peeters | Poor | Overheating | Rebalance motor | Open
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-06-19 | K. Janssens | Fair | Bearing noise | Tighten connections | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-07-01 | R. Willems | Fair | Corrosion on housing | Schedule repair within 30 days | In progress
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2024-07-01 | L. Dubois | Good | Minor dust | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-07-06 | K. Janssens | Fair | Belt wear | Repaint housing | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2024-07-06 | M. Claes | Fair | Dust buildup | Tighten connections | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-07-11 | M. Claes | Fair | Loose connection | Tighten connections | In progress
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-07-14 | K. Janssens | Fair | Overheating | Rebalance motor | Closed
807252402 | 0016093703 | Nidec | DB085D50E00 | Building A — Laundry | 2024-07-15 | J. Peeters | Good | None | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-07-20 | A. Maes | Fair | Corrosion on housing | Tighten connections | Open
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-07-28 | A. Maes | Good | None | Clean during next service | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-07-28 | K. Janssens | Good | Minor dust | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-08-02 | A. Maes | Poor | Corrosion on housing | Rebalance motor | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-08-04 | K. Janssens | Poor | Bearing noise | Schedule repair within 30 days | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2024-08-15 | J. Peeters | Poor | Belt wear | Clean and re-insulate within 60 days | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2024-08-16 | M. Claes | Good | None | Monitor next cycle | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-08-17 | M. Claes | Good | Minor dust | Monitor next cycle | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-08-24 | K. Janssens | Poor | Corrosion on housing | Schedule repair within 30 days | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2024-08-24 | K. Janssens | Fair | Vibration above threshold | Schedule repair within 60 days | In progress
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2024-08-24 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-09-05 | K. Janssens | Good | Minor dust | Clean during next service | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2024-09-11 | A. Maes | Fair | Belt wear | Schedule repair within 60 days | In progress
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-09-18 | J. Peeters | Good | Slight vibration noted | No action needed | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2024-09-19 | A. Maes | Good | None | Clean during next service | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2024-09-23 | M. Claes | Fair | Overheating | Replace belt | Open
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-09-24 | K. Janssens | Good | None | Monitor next cycle | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2024-09-28 | A. Maes | Fair | Corrosion on housing | Replace belt | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-10-02 | R. Willems | Good | None | Monitor next cycle | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-10-03 | L. Dubois | Good | Slight vibration noted | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-10-12 | K. Janssens | Good | None | Clean during next service | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2024-10-14 | R. Willems | Fair | Corrosion on housing | Replace bearing | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-10-20 | M. Claes | Good | None | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-10-21 | L. Dubois | Fair | Vibration above threshold | Replace belt | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-10-22 | L. Dubois | Good | None | Clean during next service | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2024-10-23 | R. Willems | Good | None | Clean during next service | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2024-10-24 | R. Willems | Good | Slight vibration noted | Monitor next cycle | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-10-24 | K. Janssens | Poor | Belt wear | Schedule repair within 30 days | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-10-25 | R. Willems | Good | Slight vibration noted | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-10-26 | R. Willems | Good | Slight vibration noted | Monitor next cycle | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-11-03 | M. Claes | Fair | Bearing noise | Rebalance motor | In progress
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-11-07 | K. Janssens | Fair | Insulation damage | Replace belt | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-11-13 | R. Willems | Good | Minor dust | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-11-20 | K. Janssens | Poor | Belt wear | Schedule repair within 60 days | In progress
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-11-21 | R. Willems | Good | Minor dust | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2024-11-24 | A. Maes | Good | None | No action needed | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2024-11-26 | A. Maes | Good | None | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-12-01 | J. Peeters | Fair | Loose connection | Schedule repair within 60 days | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-12-02 | K. Janssens | Fair | Dust buildup | Tighten connections | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-12-02 | K. Janssens | Fair | Dust buildup | Schedule repair within 30 days | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2024-12-03 | L. Dubois | Fair | Overheating | Schedule repair within 30 days | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2024-12-13 | L. Dubois | Good | Slight vibration noted | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-12-13 | R. Willems | Fair | Dust buildup | Schedule repair within 30 days | In progress
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-12-14 | R. Willems | Good | None | Monitor next cycle | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2024-12-17 | J. Peeters | Fair | Loose connection | Replace bearing | Open
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-12-17 | L. Dubois | Good | None | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2024-12-27 | J. Peeters | Good | None | Monitor next cycle | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2024-12-27 | J. Peeters | Good | None | Monitor next cycle | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2024-12-30 | J. Peeters | Poor | Insulation damage | Tighten connections | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2025-01-08 | M. Claes | Good | Slight vibration noted | No action needed | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-01-09 | L. Dubois | Good | Minor dust | Monitor next cycle | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-01-11 | A. Maes | Good | None | Monitor next cycle | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-01-12 | A. Maes | Fair | Corrosion on housing | Schedule repair within 30 days | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-01-17 | L. Dubois | Fair | Insulation damage | Clean and re-insulate within 60 days | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-01-18 | J. Peeters | Fair | Corrosion on housing | Rebalance motor | In progress
807252402 | 0016093703 | Nidec | DB085D50E00 | Building A — Laundry | 2025-01-20 | M. Claes | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-01-22 | K. Janssens | Good | Minor dust | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2025-01-22 | K. Janssens | Fair | Corrosion on housing | Rebalance motor | Open
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-01-23 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-01-30 | K. Janssens | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-02-08 | J. Peeters | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-02-08 | R. Willems | Fair | Overheating | Repaint housing | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-02-12 | R. Willems | Good | Minor dust | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-02-12 | M. Claes | Good | Slight vibration noted | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-02-24 | R. Willems | Good | None | Monitor next cycle | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-03-04 | J. Peeters | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-03-07 | K. Janssens | Good | None | No action needed | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-03-09 | M. Claes | Poor | Loose connection | Clean and re-insulate within 60 days | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-03-11 | L. Dubois | Good | None | Monitor next cycle | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-03-20 | K. Janssens | Poor | Loose connection | Clean and re-insulate within 60 days | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-04-02 | L. Dubois | Poor | Vibration above threshold | Tighten connections | Open
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2025-04-08 | R. Willems | Good | None | No action needed | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-04-10 | L. Dubois | Poor | Vibration above threshold | Schedule repair within 30 days | Open
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2025-04-14 | A. Maes | Good | None | No action needed | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2025-04-16 | J. Peeters | Good | Slight vibration noted | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-04-19 | M. Claes | Good | Slight vibration noted | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2025-04-21 | R. Willems | Fair | Dust buildup | Schedule repair within 60 days | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-04-25 | J. Peeters | Good | None | No action needed | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2025-04-26 | A. Maes | Poor | Loose connection | Replace bearing | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2025-04-30 | L. Dubois | Good | None | Clean during next service | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2025-05-04 | M. Claes | Good | None | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2025-05-04 | J. Peeters | Good | Minor dust | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2025-05-05 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-05-06 | R. Willems | Good | Minor dust | Monitor next cycle | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-05-10 | M. Claes | Poor | Corrosion on housing | Replace bearing | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2025-05-13 | R. Willems | Good | Slight vibration noted | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-05-17 | A. Maes | Poor | Insulation damage | Replace bearing | In progress
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-05-19 | J. Peeters | Good | Slight vibration noted | Monitor next cycle | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-05-25 | M. Claes | Good | None | Monitor next cycle | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-05-30 | A. Maes | Good | None | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2025-06-19 | R. Willems | Poor | Loose connection | Schedule repair within 60 days | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2025-06-22 | R. Willems | Poor | Loose connection | Replace bearing | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-06-26 | A. Maes | Good | None | Monitor next cycle | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-07-03 | R. Willems | Fair | Dust buildup | Schedule repair within 60 days | In progress
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2025-07-04 | M. Claes | Good | Slight vibration noted | Clean during next service | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2025-07-05 | A. Maes | Good | None | Monitor next cycle | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2025-07-06 | R. Willems | Good | Slight vibration noted | No action needed | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2025-07-08 | L. Dubois | Good | None | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2025-07-10 | A. Maes | Fair | Belt wear | Repaint housing | In progress
807252402 | 0016093703 | Nidec | DB085D50E00 | Building A — Laundry | 2025-07-14 | J. Peeters | Good | Minor dust | Clean during next service | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-07-17 | R. Willems | Poor | Dust buildup | Rebalance motor | In progress
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2025-07-27 | L. Dubois | Good | None | Clean during next service | Closed
445190201 | 0018472901 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-08-03 | M. Claes | Good | Slight vibration noted | No action needed | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2025-08-04 | M. Claes | Poor | Corrosion on housing | Repaint housing | In progress
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-08-14 | L. Dubois | Good | Minor dust | No action needed | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2025-08-19 | J. Peeters | Fair | Vibration above threshold | Replace bearing | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2025-08-20 | K. Janssens | Good | None | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-08-22 | L. Dubois | Fair | Dust buildup | Rebalance motor | In progress
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-08-26 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-08-30 | M. Claes | Fair | Bearing noise | Tighten connections | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2025-09-01 | J. Peeters | Fair | Loose connection | Rebalance motor | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-09-03 | J. Peeters | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-09-03 | L. Dubois | Good | None | No action needed | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-09-04 | R. Willems | Poor | Dust buildup | Clean and re-insulate within 60 days | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2025-09-05 | R. Willems | Fair | Overheating | Clean and re-insulate within 60 days | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-09-08 | A. Maes | Good | Slight vibration noted | No action needed | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-09-26 | A. Maes | Fair | Loose connection | Repaint housing | In progress
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-09-30 | J. Peeters | Good | Slight vibration noted | No action needed | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2025-10-06 | M. Claes | Good | None | No action needed | Closed
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-10-07 | A. Maes | Good | None | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-10-12 | J. Peeters | Good | None | No action needed | Closed
998127001 | 0048321701 | Schneider | ATV320U22N4C | Building B — Controls | 2025-10-13 | M. Claes | Good | Slight vibration noted | No action needed | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2025-10-14 | J. Peeters | Fair | Loose connection | Repaint housing | In progress
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-10-18 | R. Willems | Good | Slight vibration noted | No action needed | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-10-23 | J. Peeters | Good | None | No action needed | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-10-24 | K. Janssens | Good | None | Clean during next service | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-10-25 | K. Janssens | Good | Slight vibration noted | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-10-26 | M. Claes | Fair | Insulation damage | Clean and re-insulate within 60 days | In progress
445190202 | 0018472902 | Siemens | 1LA7096-4AA | Building B — HVAC | 2025-11-02 | M. Claes | Good | Minor dust | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-11-11 | A. Maes | Good | None | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-11-13 | L. Dubois | Poor | Loose connection | Rebalance motor | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-11-19 | L. Dubois | Fair | Bearing noise | Replace belt | In progress
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-11-24 | K. Janssens | Good | None | Monitor next cycle | Closed
220198001 | 0012654801 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-11-24 | L. Dubois | Good | Minor dust | Monitor next cycle | Closed
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-11-24 | L. Dubois | Fair | Overheating | Replace bearing | Closed
773456001 | 0036891201 | Nidec | DB085D50E00 | Building A — Kitchen | 2025-11-24 | J. Peeters | Fair | Bearing noise | Schedule repair within 60 days | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2025-11-25 | L. Dubois | Fair | Corrosion on housing | Clean and re-insulate within 60 days | In progress
551209002 | 0025783402 | Grundfos | CM 3-5 | Outdoor — Cooling | 2025-12-04 | M. Claes | Fair | Dust buildup | Schedule repair within 60 days | Closed
889034001 | 0041562301 | Danfoss | VLT FC-302 | Building B — Controls | 2025-12-04 | M. Claes | Good | None | No action needed | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-12-05 | K. Janssens | Good | None | Clean during next service | Closed
310876002 | 0022145602 | ABB | M2BAX 90SA | Building C — Pump room | 2025-12-05 | R. Willems | Good | Minor dust | No action needed | Closed
662341001 | 0031298701 | WEG | W22 IE3 | Building A — Workshop | 2025-12-06 | L. Dubois | Good | None | No action needed | Closed
889034002 | 0041562302 | Danfoss | VLT FC-302 | Building C — Controls | 2025-12-10 | J. Peeters | Poor | Dust buildup | Schedule repair within 30 days | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-12-12 | J. Peeters | Poor | Loose connection | Schedule repair within 30 days | Closed
773456002 | 0036891202 | Leroy-Somer | LSMV 100L | Building D — Compressor | 2025-12-16 | L. Dubois | Good | None | Clean during next service | Closed
220198002 | 0012654802 | Bonfiglioli | BN 63B4 | Building C — Conveyor | 2025-12-17 | R. Willems | Fair | Loose connection | Replace bearing | Closed
662341002 | 0031298702 | WEG | W22 IE3 | Building A — Workshop | 2025-12-23 | J. Peeters | Good | Slight vibration noted | No action needed | Closed
551209001 | 0025783401 | Grundfos | CM 3-5 | Building D — Utility | 2025-12-24 | M. Claes | Poor | Dust buildup | Tighten connections | Closed
310876001 | 0022145601 | ABB | M2BAX 90SA | Building C — Pump room | 2026-01-11 | M. Claes | Fair | Bearing noise | Schedule repair within 60 days | In progress